|  |  |
| --- | --- |
| **Table Mapping Update** | |
| **2019.1.2** | **2019.1.3** |
| A | A |
| B | B |
| C1. | C1. |
| C2. | C2. |
| U. | C3. ENERGY USE SUMMARY |
| R | C4. UNMET LOAD HOURS |
| G. | G1. ENVELOPE GENERAL INFORMATION (conditioned spaces only) |
| J. | G2. CRCC ROOFING PRODUCT SUMMARY |
| I1. | G3. OPAQUE SURFACE ASSEMBLY SUMMARY |
| I4. | G4. OPAQUE DOOR SUMMARY |
| H. | G5. FENESTRATION ASSEMBLY SUMMARY |
| I2. | G6. OVERHANG DETAILS |
|  | G7. FIN DETAILS |
| ~~K.~~ | ~~H. HVAC SYSTEM SUMMARY~~ |
| K1. | H1. DRY SYSTEM EQUIPMENT (furnaces, air handling units, heat pumps, VRF, economizers etc.) |
| K2. | H2. FAN SYSTEMS SUMMARY |
| K3. | H3. EXHAUST FAN SUMMARY |
| K4. | H4. WET SYSTEM EQUIPMENT (boilers, chillers, cooling towers etc.) |
| K5. | H5. SYSTEM SPECIAL FEATURES |
| K6. | H6. MECHANICAL VENTILATION |
| K7. | Removed |
| K8. | H7. ZONAL SYSTEM AND TERMINAL UNIT SUMMARY |
| K9. | H8. EVAPORATIVE COOLER SUMMARY |
| ~~L.~~ | ~~I. DOMESTIC/SERVICE HOT WATER SYSTEM SUMMARY~~ |
| L1. | L1. WATER HEATER EQUIPMENT SUMMARY |
| L2. | L2. MULTI-FAMILY WATER HEATING SYSTEM DETAIL |
|  | L3. WATER HEATER EQUIPMENT SUMMARY CHPWH |
|  | L4. WATER HEATER EQUIPMENT SUMMARY CHPWH LOOP TANK |
|  | L5 RECIRCULATION LOOPS |
| L3 | L6.SOLAR HOT WATER HEATING SUMMARY |
| ~~M.~~ | ~~J. COVERED PROCESS SUMMARY~~ |
| M1. | J1. ENCLOSED PARKING GARAGES |
| M2. | J2. COMMERCIAL KITCHENS |
| M3. | J3. COMPUTER ROOMS |
| M4. | J4. LABORATORY/PROCESS EXHAUST |
| ~~N.~~ | ~~K. INDOOR LIGHTING SUMMARY~~ |
| N1. | K1. INDOOR CONDITIONED LIGHTING GENERAL INFO |
| N2. | K2. INDOOR CONDITIONED LIGHTING SCHEDULE |
| N3. | K3. INDOOR CONDITIONED LIGHTING CONTROL CREDITS |
| N4. | K4.  INDOOR CONDITIONED LIGHTING MANDATORY LIGHTING CONTROLS |
| N5. | K5. TAILORED METHOD CONDITIONED LIGHTING POWER ALLOWNACE SUMMARY AND CHECKLIST |
| N6. | K6. GENERAL LIGHTING POWER |
| N7. | K7. GENERAL LIGHTING FROM SPECIAL FUNCTION AREAS |
| N8. | K8. ROOM CAVITY RATIO |
| N9. | K9. ADDITIONAL "USE IT OR LOSE IT" |
| N10. | K10. WALL DISPLAY |
| N11. | K11. FLOOR DISPLAY AND TASK LIGHTING |
| N12. | K12. COMBINED ORNAMENTAL AND SPECIAL EFFECTS LIGHTING |